W2000-C  WE-003

SOLO-DOOR ACCESS

CONTROLLER

INTERNAL-INDUCT READER 

AND PASSWARD KEYBOARD

USER MANUAL

PRODUCT CHARACTER

WORKING VOlTAGE: DC 12V

unlock current:  ≤1000Ma
STATIC current: ≤60mA
Memory volume: 250 standard users
card-readed distance: 0-10cm
RF type: EM card

working temperature: -10℃-70℃

working humidity: 10%-90%
size; 117×117×21mm
assemble guideline

Discharge front board and “ten” –like screw in bottom board, then take off bottom board, assemble bottom board in side of entry with plastic inserts and screws.

how to connect electrical wire:

    Connect wire with reference to routine mark in electrical board. 

[image: image1.wmf]                  J1

 

1

 

2

 

3

 

1

 

2

 

3

 

4

 

5

 

6

 

7

 

8

 

+12

GND

PUSH1

PUSH2

OPEN  

BELL

 

 

 

            J6

 

1

 

2

 

3

 

 

Caution! Before power on, must check voltage of power supplier and cathode and positive

REMARK:

Warning alarm switch is at right bottom side, voice died with door closed, then spring out buzzer and make continuous warning. 

operation guidelines

access controller initialization:

after power off, connect bin 1 and bin 2 of J6

Supply power, buzzer make continuous warning alarm, power light(red light), OK(green) light and Mode(orange) light all flash.

cut off power, then connect power supply, All lights, including POWER, OK and Mode, flash, waiting for exchanging J6 switch

Bin 1 and Bin 2 disconnected, Bin 2 and Bin 3 connected.

Access controller initialization is completed, after a voice of buzzer, controller will be available for user.

REMARK: Initialization only modify system password to default password(default when ex-work), other data will not changed.

electrical lock assembling

When connect Bin 1 and Bin 2, open signal is outputted( power on and door open); When connect bin 2 and bin 3, close signal is outputted(power off and door closed); drive voltage for electrical lock is 12V.

how to set up access controller system program.

“#”key: function key, go into system edit mode

Push”#”, then red, green and orange lights all work.

Input 5 system passwords and a voice of buzzer is made.

“0” key: log on user card plus password

push”0” key,orange light lights, red and green lights die.

Input 4 digital user no.valid.

After reading user card, a buzzer invoice happened,then again input 6 digitals password,a long buzzer ivoice happened,green lights died after flash, orange and red light lights and user logged on successfully.
“1” key: modify system password

Push”1”, orange light lights, red and green lights die.

User inputs 5 digit number password(such as 23456), once input completed, buzzer makes a short voice, green light died after flash, red light and orange lights light, then modification of password is successful.

Caution: please user keep password well. When you go into system program mode again, need input the password, if forget it, please execute initialization process.

“2”key: log on user card, or password
push”2”key, orange light lights, red and green lights die.

Input 4 digital user no., green light lights, showing user no. valid. If buzzer makes 3 invoices, showing that the user no. already logged on; if buzzer make 4 long incontinuosly voices, showing memory is full, can’t log on.

After reading user card, or inputting 6 digitals password, green light died after flash; orange and red lights light and user logged on successfully. If buzzer make 3 continuous voices, showing that the card or password already logged on, can’t repeatedly log on.
“3”key: delete solo user card or password, or card plus password.
push”3”key, orange light lights, red and green lights died.

Input 4 digital number to be deleted, a long buzzer is made 
“4”key: delete all user card or password or car plus password
Push”4” , a long buzzer is made, green light die after flash, orange and red lights light, showing all user data are deleted
“5”key: set up time of opening door.

push”5”, orange light lights, red and green lights died.

Input 2 digital number for open door time, buzzer make a long voice, green light died after flash, orange and red lights light, the time of open door is set up successfully.
“6”key:exit key.

Buzzer makes a long voice, green light die after flash, red light lights, orange light dies, access controller exits from system program mode and goes into normal work mode.

Description: during system program process, if type error or wrongly operation, controller will make warning alarm for incident with 3 long buzzers and return to normal use status. If 5 2-short-1-long buzzers are made, show system memory reads wrongly.

how to utilize controller 
Once access controller edit is completed, goes into normal work status, red light lights, orange and green lights die. Refer to below for guideline

Put user card near to access controller or continuously input 6 digitals user password, buzzer makes a long voice, green light lights, red light dies and door opened; within the time set-up open door, the status that light shows keep the same.

If buzzer makes 3 short voices, red light continuously flash 3 times, showing card or password is illegal and can’t open door.

For user who selects card& password type(set-up for user log on), ask that after input card or password, then input according password or card, showing valid with 1 long buzzer and door is opened; if invalid, exit and wait for re-input.

Caution: the access control meantime supports card, password, card plus password and password plus card (card& password type). Card can’t be read when door open; when user push button and input password, card can’t be read.

Packing list:

RF-C access controller        1 set

User manual            1 piece

Plastic insert for fixed and screw  1 bag



































































� EMBED Word.Picture.8  ���








[image: image2.wmf]                  J1

 

1

 

2

 

3

 

1

 

2

 

3

 

4

 

5

 

6

 

7

 

8

 

+12

GND

PUSH1

PUSH2

OPEN  

BELL

 

 

 

            J6

 

1

 

2

 

3

 

 

_1141738929.doc
                  J1

		1

		2

		3



		1

		2

		3

		4

		5

		6

		7

		8





+12GNDPUSH1PUSH2OPEN  BELL


            J6

		1

		2

		3






